## UTokyo PCB LSU measurement v1
position no. | Hamamatsu measured Vbr | LSU measured Vbr¦Temp=25C | LSU measured Vbr¦Temp=20C | Uncalibrated Gain @ over_voltage=5V¦Temp=25C | MPPC Gain @ over_voltage=5V¦Temp=25C | Uncalibrated Gain @ over_voltage=5V¦Temp=20C | MPPC Gain @ over_voltage=5V¦Temp=20C | Noise Rate @ bias_voltage=57V¦Temp=25C | Noise Rate @ bias_voltage=57V¦Temp=20C | Cross Talk @ over_voltage=5V¦Temp=25C | Cross Talk @ over_voltage=5V¦Temp=20C | calibration factor from charge injection (electrons/ADC) | LSU measured Vbr error¦Temp=20C
0 | N/A |  | 52.424 |  |  | 55.3397 | 665131.2301 |  |  |  |  | 12019.06 | 0.11314
1 | N/A |  | 52.3187 |  |  | 53.2312 | 637939.4241 |  |  |  |  | 11984.31 | 0.11854
2 | N/A |  | 50 |  |  | 50 | 600773 |  |  |  |  | 12015.46 | 0
3 | N/A |  | 51.9223 |  |  | 51.5848 | 620994.537 |  |  |  |  | 12038.33 | 0.051338
4 | N/A |  | 52.0056 |  |  | 50.0524 | 608143.5064 |  |  |  |  | 12150.13 | 0.013332
5 | N/A |  | 52.019 |  |  | 52.2746 | 625655.0617 |  |  |  |  | 11968.62 | 0.072794
6 | N/A |  | 52.3122 |  |  | 52.0128 | 627151.7938 |  |  |  |  | 12057.65 | 0.11512
7 | N/A |  | 52.9685 |  |  | 61.9465 | 743848.0741 |  |  |  |  | 12007.91 | 0.029865
8 | N/A |  | 52.0989 |  |  | 53.5067 | 636760.198 |  |  |  |  | 11900.56 | 0.091148
9 | N/A |  | 53.1833 |  |  | 62.2642 | 748892.5842 |  |  |  |  | 12027.66 | 0.027125
10 | N/A |  | 52.153 |  |  | 51.576 | 616057.4815 |  |  |  |  | 11944.66 | 0.073936
11 | N/A |  | 52.1511 |  |  | 55.0492 | 657254.5808 |  |  |  |  | 11939.4 | 0.13173
12 | N/A |  | 52.1213 |  |  | 51.0321 | 608852.1949 |  |  |  |  | 11930.77 | inf
13 | N/A |  | 53.4 |  |  | 62.4998 | 752382.1299 |  |  |  |  | 12038.16 | 1.0605e-13
14 | N/A |  | 52.2293 |  |  | 52.1485 | 622480.8276 |  |  |  |  | 11936.69 | 0.089868
15 | N/A |  | 52.2535 |  |  | 53.9384 | 634207.835 |  |  |  |  | 11758.01 | 0.082438
16 | N/A |  | 50 |  |  | 50 | 586278 |  |  |  |  | 11725.56 | 0
17 | N/A |  | 52.348 |  |  | 55.5305 | 669136.3356 |  |  |  |  | 12049.88 | 0.0091009
18 | N/A |  | 50.2209 |  |  | 39.8673 | 479317.8847 |  |  |  |  | 12022.84 | inf
19 | N/A |  | 52.496 |  |  | 53.9988 | 655032.6694 |  |  |  |  | 12130.5 | 0.030137
20 | N/A |  | 52.3281 |  |  | 52.1736 | 628901.2902 |  |  |  |  | 12054.02 | 0.14096
21 | N/A |  | 52.203 |  |  | 52.6724 | 622620.9603 |  |  |  |  | 11820.63 | 0.024184
22 | N/A |  | 52.0729 |  |  | 52.5439 | 619118.9661 |  |  |  |  | 11782.88 | 0.056673
23 | N/A |  | 52.2382 |  |  | 53.6206 | 648368.9916 |  |  |  |  | 12091.8 | 0.059385
24 | N/A |  | 52.2131 |  |  | 51.6737 | 621336.0315 |  |  |  |  | 12024.22 | 0.11093
25 | N/A |  | 52.9836 |  |  | 62.286 | 737409.084 |  |  |  |  | 11839.09 | 0.026925
26 | N/A |  | 52.3189 |  |  | 53.4435 | 639581.3273 |  |  |  |  | 11967.43 | 0.10205
27 | N/A |  | 50 |  |  | 50 | 602684 |  |  |  |  | 12053.68 | 0
28 | N/A |  | 52.2927 |  |  | 53.1861 | 638316.454 |  |  |  |  | 12001.57 | 0.071281
29 | N/A |  | 52.0034 |  |  | 50.0342 | 609258.9067 |  |  |  |  | 12176.86 | 8.6988e-08
30 | N/A |  | 52.067 |  |  | 51.9658 | 623093.4588 |  |  |  |  | 11990.46 | 0.091917
31 | N/A |  | 52.3545 |  |  | 53.0375 | 643176.8291 |  |  |  |  | 12126.83 | 0.076087
32 | N/A |  | 52.7912 |  |  | 62.3459 | 749339.3727 |  |  |  |  | 12019.06 | 0.017364
33 | N/A |  | 50 |  |  | 1.5536e-09 | 1.8619e-05 |  |  |  |  | 11984.31 | inf
34 | N/A |  | 52.7985 |  |  | 62.4805 | 750731.541 |  |  |  |  | 12015.46 | 0.0099366
35 | N/A |  | 52.7626 |  |  | 61.8159 | 744159.6315 |  |  |  |  | 12038.33 | 0.028271
36 | N/A |  | 52.8252 |  |  | 61.9325 | 752488.0081 |  |  |  |  | 12150.13 | 0.592
37 | N/A |  | 52.6892 |  |  | 57.5351 | 688615.6472 |  |  |  |  | 11968.62 | 0.071078
38 | N/A |  | 52.1043 |  |  | 52.5401 | 633509.6869 |  |  |  |  | 12057.65 | 0.12118
39 | N/A |  | 51.0562 |  |  | 42.0844 | 505345.898 |  |  |  |  | 12007.91 | 0.079249
40 | N/A |  | 52.2876 |  |  | 53.8727 | 641115.5943 |  |  |  |  | 11900.56 | 0.04942
41 | N/A |  | 52.1328 |  |  | 52.2977 | 629018.3782 |  |  |  |  | 12027.66 | 0.061802
42 | N/A |  | 52.1675 |  |  | 55.4141 | 661903.0098 |  |  |  |  | 11944.66 | 0.083862
43 | N/A |  | 52.3265 |  |  | 56.8869 | 679195.3617 |  |  |  |  | 11939.4 | 0.10462
44 | N/A |  | 52.001 |  |  | 53.5814 | 639267.5299 |  |  |  |  | 11930.77 | 0.0063108
45 | N/A |  | 52.0169 |  |  | 53.7864 | 647489.3019 |  |  |  |  | 12038.16 | 0.063972
46 | N/A |  | 52.491 |  |  | 57.1734 | 682461.5194 |  |  |  |  | 11936.69 | 0.0983
47 | N/A |  | 52.1564 |  |  | 54.5224 | 641074.4575 |  |  |  |  | 11758.01 | 0.066625
48 | N/A |  | 52.9889 |  |  | 62.3504 | 731092.825 |  |  |  |  | 11725.56 | 0.020859
49 | N/A |  | 52.1879 |  |  | 52.4638 | 632182.341 |  |  |  |  | 12049.88 | 0.059815
50 | N/A |  | 52.2216 |  |  | 55.2376 | 664112.8312 |  |  |  |  | 12022.84 | 0.10121
51 | N/A |  | 52.4292 |  |  | 56.7021 | 687824.9795 |  |  |  |  | 12130.5 | 0.11542
52 | N/A |  | 52.3042 |  |  | 54.5871 | 657994.4608 |  |  |  |  | 12054.02 | 0.096359
53 | N/A |  | 52.5021 |  |  | 57.1782 | 675882.2793 |  |  |  |  | 11820.63 | 0.0473
54 | N/A |  | 52.4566 |  |  | 57.9349 | 682639.4449 |  |  |  |  | 11782.88 | 0.061694
55 | N/A |  | 51.2747 |  |  | 47.6129 | 575725.9196 |  |  |  |  | 12091.8 | 0.1043
56 | N/A |  | 50 |  |  | -1.3646e-09 | -1.6408e-05 |  |  |  |  | 12024.22 | inf
57 | N/A |  | 53.0917 |  |  | 64.1378 | 759333.5278 |  |  |  |  | 11839.09 | 0.072053
58 | N/A |  | 52.3969 |  |  | 56.3364 | 674201.6203 |  |  |  |  | 11967.43 | 0.12526
59 | N/A |  | 50 |  |  | 50 | 602684 |  |  |  |  | 12053.68 | 0
60 | N/A |  | 52.245 |  |  | 53.2632 | 639241.637 |  |  |  |  | 12001.57 | 0.060539
61 | N/A |  | 52.4744 |  |  | 57.8607 | 704561.2126 |  |  |  |  | 12176.86 | 0.10305
62 | N/A |  | 52.0907 |  |  | 53.5519 | 642112.3181 |  |  |  |  | 11990.46 | 0.13598
63 | N/A |  | 52.5964 |  |  | 59.2082 | 718007.2149 |  |  |  |  | 12126.83 | 0.10732